SECTION 1 - IDENTIFICATION OF SUBSTANCE

Product Name:	UV Discharge Lamp

Chemical Name:	Intact Sealed Article

SECTION 2 - INFORMATION ON INGREDIENTS

Hazardous and regulated components *

CAS			Wt		Component		Exposure Limits

14808-60-7				Quartz glass	N.A.

7439-97-6		Up to 4g	Mercury (Vapor)	OSHA-PEL .05 mg/m3 TWA

(average 500 mg)

1314-20-1		70 mg		Thorium Oxide	N.A.

Additional components in specifically doped lamps:

Gallium/Indium Doped Lamps:

CAS			Wt		Component		Exposure Limits

7440-55-3		Several mg	Gallium		N.A.

7440-74-6		Several mg	Indium		ACGIH-TLV .1 mg/m3 TWA

7774-29-0		Up to 20mg	Mercury Iodide (HgI2)

Iron Doped Lamps:

CAS			Wt		Component		Exposure Limits

7440-31-5		Several mg	Tin			ACGIH-TLV 2 mg/m3 TWA

OSHA-PEL 2 mg/m3 TWA

7439-89-6		Several mg 	Iron			ACGIH-TLV 5 mg/m3 TWA

OSHA-PEL 10 mg/m3 TWA

7774-29-0		Up to 40mg 	Mercury Iodide (HgI2)

Lead Doped Lamps:

CAS			Wt		Component		Exposure Limits

7439-92-1		Several mg 	Lead			ACGIH-TLV 0.15 mg/m3 TWA

OSHA-PEL 0.05 mg/m3 TWA

7774-29-0		Up to 40mg 	Mercury Iodide (HgI2)

Ultraviolet radiation - 8 hour TWA is .1 microwatt per centimeter squared.

UV discharge lamps are sealed articles and are exempt from the HazCom requirement of OSHA.

SECTION 3 - HAZARDS IDENTIFICATION

Effects of Overexposure:

EYES:  conjunctivitis from overexposure to the light source; eye irritation from inhalation of ozone; see the coating MSDS for additional hazards.

SKIN:  Erythema (sunburn) which may be exaggerated with the use of sensitizing pharmaceutical and herbal products; see the coating MSDS for additional hazards.

INHALATION:  none from UV discharge lamp, inhalation of ozone may irritate the  nose or cause headache and nausea; see the coating MSDS for additional hazards.

ORAL:  none from UV discharge lamp; inhalation of ozone may irritate the  throat; see the coating MSDS for additional hazards.

SECTION 4 - FIRST AID MEASURES

Skin:		conjunctivitis

Eyes:		welders flash treatment

Inhalation: No first aid should be needed due to ultraviolet exposure.

Ingestion:  No first aid should be needed due to ultraviolet exposure.

Comments:	Additional hazards may be created from exposure to the coating.

Effects of overexposure to skin and eyes usually disappear in 48 hours.  Some individuals may have an abnormally increased sensitivity to the effects of UV light.  This may be the result of a sensitizing chemical or prescribed drug.  Sensitization will result in an exaggerated sunburn response.  Further occupational exposure to UV should be limited and the individual should be referred to a physician.

SECTION 5 - EXPLOSION AND FIRE FIGHTING MEASURES

Flash Point: NA

Extinguishing Media:  NA

Special Fire Fighting Procedures:  NA

Unusual and Explosion Hazards:  None known

Hazardous Decomposition Products:  None known

SECTION 6 - ACCIDENTAL RELEASE / SPILL PROCEDURES

Steps to be taken in case material is released or spilled:

Broken UV discharge lamps should be placed in a sealed container and handled/disposed as hazardous waste.

SECTION 7 - HANDLING AND STORAGE

Handling:  A small amount of mercury is contained in the quartz tube of UV discharge lamps.  Due to the toxicity of mercury, UV discharge lamps should be handled so that breakage is minimized.

Storage:  Scrap UV discharge lamps may be stored for one year before being shipped for recycling.

SECTION 8 - EXPOSURE CONTROLS/PERSONAL PROTECTION

Engineering Controls:  Install UV discharge lamps following manufacturers guidance.  Operators should be trained to fully understand the recommended operating and safety procedures.  Ozone generated by the process requires negative pressure exhaust.

Personal Protective Equipment for Routine Handling:
Safety glasses with side shield and with protection against ultraviolet light are recommended.  Contact lenses should not be worn.  Barrier creams or polyethylene skin protection are recommended.  Industrial processes must be evaluated for additional safeguards.

SECTION 9 - PHYSICAL AND CHEMICAL PROPERTIES

Physical form:  solid

Color:  clear

Odor:  none

Specific Gravity @25C:  n/a

Viscosity:  n/a

Freezing/Melting Point:  n/a

Boiling Point:  n/a

Vapor Pressure @25C:  n/a

Solubility in Water:  insoluble

PH:  n/a

Volatile content:  n/a

Note:  Energized UV discharge lamp surfaces are hot.

SECTION 10 - STABILITY AND REACTIVITY

Stability:  UV discharge Lamps are stable

Conditions to avoid:  Photosensitizing agents when UV discharge lamps are energized.

Hazardous Polymerization:  Will not occur.

Incompatible materials:  None

SECTION 11 - TOXICOLOGICAL INFORMATION

Acute Toxicology Data for Product:

No data available.

SECTION 12 - ECOLOGICAL INFORMATION

Environmental Fate and Distribution:

No data available.

SECTION 13 - DISPOSAL CONSIDERATIONS

Waste Disposal Methods:

Used UV discharge lamps should be handled/disposed in accordance with federal, state, and local regulations.  UV discharge lamps may be returned for recycling with prior authorization.

RCRA / Universal Waste:

UV discharge lamps that are not recycled must be handled/disposed in accordance with RCRA regulations.  Each state has specific regulations that apply to the management of spent UV discharge lamps. Recycling in the US must be in accordance with the Universal Waste rule.

SECTION 14 - TRANSPORTATION INFORMATION

DOT Shipping Name - Not Regulated

IATA Shipping Name – Mercury contained in manufactured articles, 8, UN 2809, PG III.  Applies to articles with greater than 100 mg of mercury.

SECTION 15 - REGULATORY INFORMATION

EPA:

RCRA / Universal Waste – UV discharge lamps that are to be recycled should be placed in the original container or packaged to prevent breakage.  The outer container should be dated and marked "Universal Waste"

OSHA:

Ultraviolet exposure is limited to 1 milliwatt per centimeter squared.  Ozone exposure is regulated at 0.1 parts per million (ppm).

SECTION 16 - OTHER INFORMATION

Energized UV discharge lamps are photosensitizing.

NOTICE

Information contained herein has been obtained from recognized technical sources.  Compliance with all federal, state, and local laws and regulations remains the responsibility of the user.